Preventing fires

No naked flames; fire, unshielded ignition sources 
and smoking prohibited

Behaviour in the event 
of a fire

| Keep calm |  |  |  |
| --- | --- | --- | --- |
| Report the fire |  |  | Actuate the manual fire alarm Emergency number ((0-))112 ((Objektspezifische Notrufnummer eintragen)) |
| Get to safety |  |  | Warn persons at risk / actuate the fire alarm Assist others in need of help Close doors Follow the destined emergency exits Do not use the lift Go to the assembly point Follow instructions |
| Attempt to extinguish the fire |  |  | Use the fire extinguisher Use the fire hose Use means and devices for fire-fighting (e. g. fire blanket) |

Brandschutzordnung nach DIN 14096 / Objekt:					Erstelldatum:

Aushang “Verhalten im Brandfall” – Englisch / www.brandschutzdialog.de			FeuerTRUTZ Network GmbH